## Dispense_Volumes
Labware_Deck_Slot | Destination_Well | Decanoic acid (50 mM) | Decanoic acid (10 mM) | Decanoic acid (2 mM) | Decanoate (50 mM) | Decanoate (10 mM) | Decanoate (2 mM) | Decylamine (50 mM) | Decylamine (10 mM) | Decylamine (2 mM) | Decyltrimethyl ammonium bromid (50 mM) | Decyltrimethyl ammonium bromid (10 mM) | Decyltrimethyl ammonium bromid (2 mM) | Decyl sodium sulfate (50 mM) | Decyl sodium sulfate (10 mM) | Decyl sodium sulfate (2 mM) | Decanol (15 mM) | Decanol (3 mM) | Glycerol monodecanoate (10 mM) | Glycerol monodecanoate (2 mM) | Decanal (50 mM) | Decanal (10 mM) | Decanal (2 mM) | Perfluorooctanoic acid (50 mM) | Perfluorooctanoic acid (10 mM)
1 | A1 | 9.3 | 0 | 0 | 9.1 | 0 | 0 | 7.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.9 | 0 | 3.1 | 5.2 | 0 | 0 | 0 | 0 | 0 | 0 | sample240_fmvsgp_0_dispense_volumes.csv
1 | A2 | 9.3 | 0 | 0 | 9.1 | 0 | 0 | 7.4 | 0 | 0 | 0 | 7.9 | 0 | 0 | 0 | 4.9 | 0 | 3.1 | 5.2 | 0 | 0 | 0 | 0 | 0 | 0 | sample240_fmvsgp_1_dispense_volumes.csv
1 | A3 | 9.3 | 0 | 0 | 9.1 | 0 | 0 | 7.4 | 0 | 0 | 0 | 19 | 0 | 0 | 0 | 4.9 | 0 | 3.1 | 5.2 | 0 | 0 | 0 | 0 | 0 | 0 | sample240_fmvsgp_2_dispense_volumes.csv
1 | A4 | 9.3 | 0 | 0 | 9.1 | 0 | 0 | 7.4 | 0 | 0 | 6.9 | 0 | 0 | 0 | 0 | 4.9 | 0 | 3.1 | 5.2 | 0 | 0 | 0 | 0 | 0 | 0 | sample240_fmvsgp_3_dispense_volumes.csv
1 | A5 | 9.3 | 0 | 0 | 9.1 | 0 | 0 | 7.4 | 0 | 0 | 11.2 | 0 | 0 | 0 | 0 | 4.9 | 0 | 3.1 | 5.2 | 0 | 0 | 0 | 0 | 0 | 0 | sample240_fmvsgp_4_dispense_volumes.csv
1 | A6 | 9.3 | 0 | 0 | 9.1 | 0 | 0 | 7.4 | 0 | 0 | 17.2 | 0 | 0 | 0 | 0 | 4.9 | 0 | 3.1 | 5.2 | 0 | 0 | 0 | 0 | 0 | 0 | sample240_fmvsgp_5_dispense_volumes.csv
1 | A7 | 9.3 | 0 | 0 | 9.1 | 0 | 0 | 7.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.9 | 0 | 3.1 | 5.2 | 0 | 0 | 0 | 0 | 0 | 0 | sample240_fmvsgp_6_dispense_volumes.csv
1 | A8 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 0 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 0 | 0 | 0 | 0 | 0 | sample144_ori_0_dispense_volumes.csv
1 | A9 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 0 | 7.9 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 0 | 0 | 0 | 0 | 0 | sample144_ori_1_dispense_volumes.csv
1 | A10 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 0 | 19 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 0 | 0 | 0 | 0 | 0 | sample144_ori_2_dispense_volumes.csv
1 | A11 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 6.9 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 0 | 0 | 0 | 0 | 0 | sample144_ori_3_dispense_volumes.csv
1 | A12 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 11.2 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 0 | 0 | 0 | 0 | 0 | sample144_ori_4_dispense_volumes.csv
1 | B1 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 17.2 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 0 | 0 | 0 | 0 | 0 | sample144_ori_5_dispense_volumes.csv
1 | B2 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 0 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 0 | 0 | 0 | 0 | 0 | sample144_ori_6_dispense_volumes.csv
1 | B3 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 0 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 0 | 7.9 | 0 | 0 | 0 | sample144_smi_1_dispense_volumes.csv
1 | B4 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 0 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 0 | 19 | 0 | 0 | 0 | sample144_smi_2_dispense_volumes.csv
1 | B5 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 0 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 6.9 | 0 | 0 | 0 | 0 | sample144_smi_3_dispense_volumes.csv
1 | B6 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 0 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 11.2 | 0 | 0 | 0 | 0 | sample144_smi_4_dispense_volumes.csv
1 | B7 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 0 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 17.2 | 0 | 0 | 0 | 0 | sample144_smi_5_dispense_volumes.csv
1 | B8 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 0 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 0 | 0 | 0 | 0 | 0 | sample144_smi_6_dispense_volumes.csv
1 | B9 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 0 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 0 | 0 | 0 | 0 | 7.9 | sample144_dis_1_dispense_volumes.csv
1 | B10 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 0 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 0 | 0 | 0 | 0 | 19 | sample144_dis_2_dispense_volumes.csv
1 | B11 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 0 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 0 | 0 | 0 | 6.9 | 0 | sample144_dis_3_dispense_volumes.csv
1 | B12 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 0 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 0 | 0 | 0 | 11.2 | 0 | sample144_dis_4_dispense_volumes.csv
1 | C1 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 0 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 0 | 0 | 0 | 17.2 | 0 | sample144_dis_5_dispense_volumes.csv
1 | C2 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 0 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 0 | 0 | 0 | 0 | 0 | sample144_dis_6_dispense_volumes.csv
1 | C3 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | sample288_ori_0_dispense_volumes.csv
1 | C4 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 0 | 7.9 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | sample288_ori_1_dispense_volumes.csv
1 | C5 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 0 | 19 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | sample288_ori_2_dispense_volumes.csv
1 | C6 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 6.9 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | sample288_ori_3_dispense_volumes.csv
1 | C7 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 11.2 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | sample288_ori_4_dispense_volumes.csv
1 | C8 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 17.2 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | sample288_ori_5_dispense_volumes.csv
1 | C9 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | sample288_ori_6_dispense_volumes.csv
1 | C10 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 0 | 7.9 | 0 | 0 | 0 | sample288_smi_1_dispense_volumes.csv
1 | C11 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 0 | 19 | 0 | 0 | 0 | sample288_smi_2_dispense_volumes.csv
1 | C12 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 6.9 | 0 | 0 | 0 | 0 | sample288_smi_3_dispense_volumes.csv
1 | D1 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 11.2 | 0 | 0 | 0 | 0 | sample288_smi_4_dispense_volumes.csv
1 | D2 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 17.2 | 0 | 0 | 0 | 0 | sample288_smi_5_dispense_volumes.csv
1 | D3 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | sample288_smi_6_dispense_volumes.csv
1 | D4 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 7.9 | sample288_dis_1_dispense_volumes.csv
1 | D5 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 19 | sample288_dis_2_dispense_volumes.csv
1 | D6 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 0 | 0 | 0 | 6.9 | 0 | sample288_dis_3_dispense_volumes.csv
1 | D7 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 0 | 0 | 0 | 11.2 | 0 | sample288_dis_4_dispense_volumes.csv
1 | D8 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 0 | 0 | 0 | 17.2 | 0 | sample288_dis_5_dispense_volumes.csv
1 | D9 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | sample288_dis_6_dispense_volumes.csv
1 | D10 | 9.3 | 0 | 0 | 9.1 | 0 | 0 | 7.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.9 | 0 | 3.1 | 5.2 | 0 | 0 | 0 | 0 | 0 | 0 | sample240_fmvsgp_0_dispense_volumes.csv
1 | D11 | 9.3 | 0 | 0 | 9.1 | 0 | 0 | 7.4 | 0 | 0 | 0 | 7.9 | 0 | 0 | 0 | 4.9 | 0 | 3.1 | 5.2 | 0 | 0 | 0 | 0 | 0 | 0 | sample240_fmvsgp_1_dispense_volumes.csv
1 | D12 | 9.3 | 0 | 0 | 9.1 | 0 | 0 | 7.4 | 0 | 0 | 0 | 19 | 0 | 0 | 0 | 4.9 | 0 | 3.1 | 5.2 | 0 | 0 | 0 | 0 | 0 | 0 | sample240_fmvsgp_2_dispense_volumes.csv
1 | E1 | 9.3 | 0 | 0 | 9.1 | 0 | 0 | 7.4 | 0 | 0 | 6.9 | 0 | 0 | 0 | 0 | 4.9 | 0 | 3.1 | 5.2 | 0 | 0 | 0 | 0 | 0 | 0 | sample240_fmvsgp_3_dispense_volumes.csv
1 | E2 | 9.3 | 0 | 0 | 9.1 | 0 | 0 | 7.4 | 0 | 0 | 11.2 | 0 | 0 | 0 | 0 | 4.9 | 0 | 3.1 | 5.2 | 0 | 0 | 0 | 0 | 0 | 0 | sample240_fmvsgp_4_dispense_volumes.csv
1 | E3 | 9.3 | 0 | 0 | 9.1 | 0 | 0 | 7.4 | 0 | 0 | 17.2 | 0 | 0 | 0 | 0 | 4.9 | 0 | 3.1 | 5.2 | 0 | 0 | 0 | 0 | 0 | 0 | sample240_fmvsgp_5_dispense_volumes.csv
1 | E4 | 9.3 | 0 | 0 | 9.1 | 0 | 0 | 7.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.9 | 0 | 3.1 | 5.2 | 0 | 0 | 0 | 0 | 0 | 0 | sample240_fmvsgp_6_dispense_volumes.csv
1 | E5 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 0 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 0 | 0 | 0 | 0 | 0 | sample144_ori_0_dispense_volumes.csv
1 | E6 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 0 | 7.9 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 0 | 0 | 0 | 0 | 0 | sample144_ori_1_dispense_volumes.csv
1 | E7 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 0 | 19 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 0 | 0 | 0 | 0 | 0 | sample144_ori_2_dispense_volumes.csv
1 | E8 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 6.9 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 0 | 0 | 0 | 0 | 0 | sample144_ori_3_dispense_volumes.csv
1 | E9 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 11.2 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 0 | 0 | 0 | 0 | 0 | sample144_ori_4_dispense_volumes.csv
1 | E10 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 17.2 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 0 | 0 | 0 | 0 | 0 | sample144_ori_5_dispense_volumes.csv
1 | E11 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 0 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 0 | 0 | 0 | 0 | 0 | sample144_ori_6_dispense_volumes.csv
1 | E12 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 0 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 0 | 7.9 | 0 | 0 | 0 | sample144_smi_1_dispense_volumes.csv
1 | F1 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 0 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 0 | 19 | 0 | 0 | 0 | sample144_smi_2_dispense_volumes.csv
1 | F2 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 0 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 6.9 | 0 | 0 | 0 | 0 | sample144_smi_3_dispense_volumes.csv
1 | F3 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 0 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 11.2 | 0 | 0 | 0 | 0 | sample144_smi_4_dispense_volumes.csv
1 | F4 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 0 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 17.2 | 0 | 0 | 0 | 0 | sample144_smi_5_dispense_volumes.csv
1 | F5 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 0 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 0 | 0 | 0 | 0 | 0 | sample144_smi_6_dispense_volumes.csv
1 | F6 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 0 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 0 | 0 | 0 | 0 | 7.9 | sample144_dis_1_dispense_volumes.csv
1 | F7 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 0 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 0 | 0 | 0 | 0 | 19 | sample144_dis_2_dispense_volumes.csv
1 | F8 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 0 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 0 | 0 | 0 | 6.9 | 0 | sample144_dis_3_dispense_volumes.csv
1 | F9 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 0 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 0 | 0 | 0 | 11.2 | 0 | sample144_dis_4_dispense_volumes.csv
1 | F10 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 0 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 0 | 0 | 0 | 17.2 | 0 | sample144_dis_5_dispense_volumes.csv
1 | F11 | 0 | 19.6 | 0 | 0 | 7.4 | 0 | 0 | 0 | 14.1 | 0 | 0 | 0 | 9.6 | 0 | 0 | 5.2 | 0 | 0 | 6.2 | 0 | 0 | 0 | 0 | 0 | sample144_dis_6_dispense_volumes.csv
1 | F12 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | sample288_ori_0_dispense_volumes.csv
1 | G1 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 0 | 7.9 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | sample288_ori_1_dispense_volumes.csv
1 | G2 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 0 | 19 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | sample288_ori_2_dispense_volumes.csv
1 | G3 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 6.9 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | sample288_ori_3_dispense_volumes.csv
1 | G4 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 11.2 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | sample288_ori_4_dispense_volumes.csv
1 | G5 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 17.2 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | sample288_ori_5_dispense_volumes.csv
1 | G6 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | sample288_ori_6_dispense_volumes.csv
1 | G7 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 0 | 7.9 | 0 | 0 | 0 | sample288_smi_1_dispense_volumes.csv
1 | G8 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 0 | 19 | 0 | 0 | 0 | sample288_smi_2_dispense_volumes.csv
1 | G9 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 6.9 | 0 | 0 | 0 | 0 | sample288_smi_3_dispense_volumes.csv
1 | G10 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 11.2 | 0 | 0 | 0 | 0 | sample288_smi_4_dispense_volumes.csv
1 | G11 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 17.2 | 0 | 0 | 0 | 0 | sample288_smi_5_dispense_volumes.csv
1 | G12 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | sample288_smi_6_dispense_volumes.csv
1 | H1 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 7.9 | sample288_dis_1_dispense_volumes.csv
1 | H2 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 19 | sample288_dis_2_dispense_volumes.csv
1 | H3 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 0 | 0 | 0 | 6.9 | 0 | sample288_dis_3_dispense_volumes.csv
1 | H4 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 0 | 0 | 0 | 11.2 | 0 | sample288_dis_4_dispense_volumes.csv
1 | H5 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 0 | 0 | 0 | 17.2 | 0 | sample288_dis_5_dispense_volumes.csv
1 | H6 | 0 | 8.8 | 0 | 0 | 10.1 | 0 | 0 | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9 | 4.4 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | sample288_dis_6_dispense_volumes.csv

## Stock_Solutions
Reagents | WHAT | WHERE | QUANTITY (uL)
Decanoic acid (50 mM) | Decanoic acid (50 mM) | A1 | 130.2
Decanoic acid (10 mM) | Decanoic acid (10 mM) | A2 | 1079.2
Decanoic acid (2 mM) | Decanoic acid (2 mM) | A3 | 0
Decanoate (50 mM) | Decanoate (50 mM) | A4 | 127.4
Decanoate (10 mM) | Decanoate (10 mM) | A5 | 665
Decanoate (2 mM) | Decanoate (2 mM) | A6 | 0
Decylamine (50 mM) | Decylamine (50 mM) | B1 | 103.6
Decylamine (10 mM) | Decylamine (10 mM) | B2 | 372.4
Decylamine (2 mM) | Decylamine (2 mM) | B3 | 535.8
Decyltrimethyl ammonium bromid (50 mM) | Decyltrimethyl ammonium bromid (50 mM) | B4 | 211.8
Decyltrimethyl ammonium bromid (10 mM) | Decyltrimethyl ammonium bromid (10 mM) | B5 | 161.4
Decyltrimethyl ammonium bromid (2 mM) | Decyltrimethyl ammonium bromid (2 mM) | B6 | 0
Decyl sodium sulfate (50 mM) | Decyl sodium sulfate (50 mM) | C1 | 364.8
Decyl sodium sulfate (10 mM) | Decyl sodium sulfate (10 mM) | C2 | 0
Decyl sodium sulfate (2 mM) | Decyl sodium sulfate (2 mM) | C3 | 368.8
Decanol (15 mM) | Decanol (15 mM) | C4 | 364.8
Decanol (3 mM) | Decanol (3 mM) | C5 | 43.4
Glycerol monodecanoate (10 mM) | Glycerol monodecanoate (10 mM) | C6 | 718.8
Glycerol monodecanoate (2 mM) | Glycerol monodecanoate (2 mM) | D1 | 235.6
Decanal (50 mM) | Decanal (50 mM) | D2 | 141.2
Decanal (10 mM) | Decanal (10 mM) | D3 | 107.6
Decanal (2 mM) | Decanal (2 mM) | D4 | 0
Perfluorooctanoic acid (50 mM) | Perfluorooctanoic acid (50 mM) | D5 | 141.2
Perfluorooctanoic acid (10 mM) | Perfluorooctanoic acid (10 mM) | D6 | 107.6

## Labware
LABWARE_DECK_SLOT | LABWARE_API_NAME | DESCRIPTION | ROLE
1 | corning_96_wellplate_360ul_flat | Corning 96 Well Plate 360 µL Flat | Destination_Wells
4 | nest_24_wellplate_10400uL | NEST 24 Well plate 10400 µL | Stock_Solutions
7 | opentrons_96_tiprack_300ul | Opentrons 96 Tip Rack 300 µL | Tips_Rack

## Pipette
Pipette_Location | Pipette_API_name | Type
left | p20_single_gen2 | Pipette 20uL